## Data
Dataset name:
Power plant
Sample dimensions:
100 observations of 5 variables
Variables:
T = ambient temperature (in °C)
V = exhaust vacuum (in cm Hg)
P = ambient pressure (in mbar)
H = relative humidity (in %)
E = energy output (in MW)
Description:
We consider measurements from a Combined Cycle Power Plant.The aim is to predict its energy output using the measurements listed above
Data:
T | V | P | H | E
26.9 | 60.93 | 1007.1 | 67.32 | 435.87
25.37 | 58.33 | 1013.49 | 51.42 | 444.46
24.62 | 70.47 | 1010.55 | 72.71 | 435.88
20.34 | 59.8 | 1015.18 | 80.21 | 453.54
19.84 | 56.89 | 1013.23 | 78.32 | 447.92
17.4 | 63.09 | 1020.84 | 92.58 | 453
22.8 | 73.17 | 1011.87 | 91.57 | 437.98
21.43 | 63.94 | 1017.28 | 57.49 | 449.02
25.02 | 59.92 | 1009.9 | 76.27 | 436.64
23.94 | 62.08 | 1022.47 | 61.97 | 447.5
15.34 | 41.96 | 1012.08 | 100.12 | 468.33
15.59 | 52.05 | 1013.67 | 78.55 | 456.07
23.21 | 58.49 | 1010.97 | 74.34 | 448.09
12.31 | 44.03 | 1007.78 | 94.42 | 468.13
6.3 | 39.33 | 1010.63 | 94.26 | 489.95
30.76 | 69.14 | 1007.63 | 71.24 | 431.67
18.44 | 45.38 | 1014.3 | 86.02 | 461.99
20.71 | 58.79 | 1017.48 | 86.67 | 444.39
9.36 | 44.03 | 1010.3 | 87.2 | 474.68
17.67 | 50.88 | 1015.64 | 90.55 | 456.16
27.47 | 69.98 | 1008.53 | 58.72 | 431.11
25.56 | 60.32 | 1016.28 | 59.84 | 445.01
32.41 | 72.86 | 1003.69 | 58.04 | 432.75
28.76 | 66.56 | 1006.07 | 62.41 | 432.3
28.07 | 61.47 | 1008.68 | 64.83 | 442.59
28.21 | 70.8 | 1010.45 | 77.92 | 435.99
12.42 | 38.25 | 1012.76 | 82.23 | 472.3
29.45 | 68.84 | 1011.64 | 59.7 | 438.41
25.66 | 71.77 | 1006.76 | 84.76 | 429.25
19.89 | 51.43 | 1007.33 | 92.08 | 448.98
24.32 | 71.14 | 1011.71 | 71.65 | 435.34
29.73 | 67.25 | 1017.64 | 37.79 | 439.06
27.33 | 52.84 | 1005.88 | 56.16 | 438.97
34.51 | 73.03 | 1013.73 | 39.42 | 439.8
19.83 | 51.19 | 1008.13 | 91.29 | 449
27.75 | 66.51 | 1015.42 | 39 | 433.08
30.93 | 71.85 | 1008.63 | 58.47 | 427.82
14.66 | 43.13 | 1014.97 | 46.31 | 467.87
22.91 | 68.63 | 1014.92 | 55.82 | 448.01
20.11 | 42.04 | 1010.79 | 60.31 | 464.13
27.18 | 61.41 | 1012.17 | 46.11 | 449.7
22.83 | 70.79 | 1006.36 | 92.07 | 438
15.17 | 49.15 | 1021.91 | 91.73 | 461.89
20.77 | 45.87 | 1008.07 | 76.22 | 452.71
10.98 | 41.54 | 1019.94 | 69.83 | 479.08
16.76 | 43.67 | 1011.27 | 70.55 | 462.44
32.67 | 67.83 | 1007.81 | 42.16 | 425.75
15.89 | 41.7 | 1018.93 | 82.68 | 463.33
20.84 | 51.19 | 1008.63 | 84.11 | 448.98
16.61 | 50.9 | 1013.18 | 85.26 | 460.35
21.55 | 44.57 | 1006.03 | 71.54 | 446.84
7.39 | 39.81 | 1019.45 | 85.02 | 482.99
14.59 | 42.44 | 1012.7 | 83.92 | 470.86
27.16 | 72.58 | 1009.24 | 90.26 | 429.59
14.78 | 41.17 | 1016.42 | 67.42 | 469.69
14.93 | 39.16 | 1007.25 | 72.35 | 463.2
12.07 | 41.17 | 1013.54 | 71.32 | 479.28
15.49 | 54.3 | 1017.59 | 71.26 | 464.24
23.56 | 73.67 | 1007.13 | 87.1 | 439.27
12 | 41.17 | 1019.48 | 58.71 | 474.4
14.63 | 40 | 1018.03 | 63.4 | 457.09
32.51 | 69.98 | 1011.92 | 49.45 | 428.37
22.86 | 62.52 | 1016.23 | 70.67 | 447.96
28.5 | 79.74 | 1006.75 | 87.09 | 433.08
14.86 | 37.85 | 1010.58 | 86.8 | 467.71
25.24 | 71.14 | 1008.73 | 79.39 | 435.09
24.1 | 60.29 | 1008.2 | 61.81 | 449.79
6.13 | 39.48 | 1005.17 | 53.5 | 484.12
17.61 | 56.53 | 1019.5 | 82.3 | 457.01
28.75 | 70.02 | 1010.33 | 46.55 | 440.31
30.99 | 68.51 | 1008 | 71.35 | 430.09
25.61 | 52.36 | 1014.1 | 62.9 | 451.42
14.46 | 44.78 | 1007.64 | 67.03 | 459.31
10.52 | 42.18 | 1014.9 | 95.67 | 469.03
11.71 | 41.44 | 1015.37 | 79.95 | 474.22
28.24 | 64.69 | 1007.35 | 61.14 | 438.03
19.5 | 52.72 | 1025.21 | 50.21 | 457.26
27.96 | 68.51 | 1007.26 | 63.21 | 432.07
27.4 | 69.13 | 1001.4 | 82.47 | 426.18
12.04 | 40.1 | 1014.42 | 89.65 | 474.28
14.97 | 58.2 | 1019.52 | 81.13 | 458.68
11.91 | 44.45 | 1021.39 | 84.49 | 466.52
22.64 | 62.44 | 1011.82 | 75.07 | 448.13
29.3 | 74.16 | 1007.72 | 81.92 | 431.32
15.67 | 41.1 | 1004.1 | 77.93 | 466.45
26.09 | 58.41 | 1013.64 | 64.58 | 438.86
21.87 | 49.39 | 1019.99 | 67.05 | 451.97
14.67 | 42.28 | 1007.21 | 65.17 | 469.02
24.95 | 76.16 | 1006.2 | 76.16 | 437.47
17.46 | 40.22 | 1006.7 | 91.96 | 461.74
19.97 | 59.21 | 1017.87 | 83.46 | 450.41
14.68 | 41.23 | 998.43 | 83.71 | 469.25
23.04 | 74.22 | 1009.52 | 90.93 | 440.32
28.02 | 63.9 | 1013.96 | 46.2 | 444.42
21.83 | 62.91 | 1011.07 | 91.34 | 443.76
12.99 | 41.93 | 1020.25 | 74.64 | 472.95
14.57 | 25.88 | 1008.92 | 69.16 | 464.11
19.02 | 52.72 | 1025.44 | 51.9 | 461.57
11.02 | 39.96 | 1025.64 | 93.58 | 467.41
13.26 | 41.74 | 1021.89 | 63.32 | 473.44